## HYDRO_from.ORNL
ORIGINAL CONVENTIONAL HYDRO BREAKDOWN | PROPOSED CONVENTIONAL HYDRO BREAKDOWN (Jaunuary 2013 from ORNL)
Table 1. Draft Standard Cost Taxonomy for the HCM | Table 1. Draft Standard Cost Taxonomy for the HCM
1. Project Initial Cost | 1. Capital Expenditures
1.1. Direct Construction Cost | 1.1. Hydropower Power Plant
1.1.1. Land, Water, and Power Privilege Rights | 1.1.1 Site Preparation
1.1.1.1. Land Rights | 1.1.1.2. Leveling and Excavation
1.1.1.2. Water Rights | 1.1.1.2. De-Watering
1.1.1.3. Power Privilege for Existing Facilities | 1.1.1.3. Cofferdams
1.1.2. Civil Works & Structures | 1.1.2 Dams and Reservoirs
1.1.2.1. Site Access (Roads, Railways and Bridges) | 1.1.2.1. Dams/Weirs/Dikes and Dam Appurtenances
1.1.2.2. Site Preparation | 1.1.2.2. Spillway Gates and Operating Equipment
1.1.2.2.1. Leveling and Excavation | 1.1.2.3. Sluiceway Gates and Operating Equipment
1.1.2.2.2. De-Watering | 1.1.2.4. Riverbank Enhancement for Water Diversion/Intake
1.1.2.2.3. Cofferdams | 1.1.3 Water Conveyances
1.1.2.3. Dams and Reservoirs | 1.1.3.1. Intake Structures and Equipment
1.1.2.3.1. Dams/Weirs/Dikes and Dam Appurtenances | 1.1.3.2. Penstocks, Control Valve and other Appurtenances
1.1.2.3.2. Spillway Gates and Operating Equipment | 1.1.3.3. Pipelines and Appurtenances
1.1.2.3.3. Sluiceway Gates and Operating Equipment | 1.1.3.4. Surge Tanks and Appurtenances
1.1.2.3.4. Riverbank Enhancement for Water Diversion/Intake | 1.1.3.5. Tunnels, Shafts and Wells
1.1.2.4. Water Conveyances | 1.1.3.6. Open Channels and Flumes
1.1.2.4.1. Intake Structures and Equipment | 1.1.3.7. Tailrace Improvements
1.1.2.4.2. Penstocks, Control Valve and other Appurtenances | 1.1.4 Powerhouse Structures and Plant Foundations (including Transformer and Switchyard Foundations)
1.1.2.4.3. Pipelines and Appurtenances | 1.1.5 Navigation Locks
1.1.2.4.4. Surge Tanks and Appurtenances | 1.1.6 Power Train Equipment and Installation
1.1.2.4.5. Tunnels, Shafts and Wells | 1.1.6.1. Turbines /Pump-Turbines
1.1.2.4.6. Open Channels and Flumes | 1.1.6.2. Governors /Hydraulic Power Units (HPU)
1.1.2.4.7. Tailrace Improvements | 1.1.6.3. Generators /Motor-Generators
1.1.2.5. Powerhouse Structures and Plant Foundations (including Transformer and Switchyard Foundations) | 1.1.6.4. Exciters
1.1.2.6. Navigation Locks | 1.1.6.5. Speed Increasers
1.1.3. Power Train Equipment and Installation | 1.1.6.6. Generator Switchgear
1.1.3.1. Turbines /Pump-Turbines | 1.1.6.7. Main Transformers
1.1.3.2. Governors /Hydraulic Power Units (HPU) | 1.2. Balance of Station
1.1.3.3. Generators /Motor-Generators | 1.2.1. Licensing and Permitting
1.1.3.4. Exciters | 1.2.1.1. FERC License/Exemption (including NEPA requirements)
1.1.3.5. Speed Increasers | 1.2.1.2. State-level Permits/Agreements
1.1.3.6. Generator Switchgear | 1.2.1.3. Municipal Building Permit and Zoning Clearance
1.1.3.7. Main Transformers | 1.2.2. Electrical Interconnection Agreement
1.1.4. Auxiliary Equipment and Installation (for Balance of Plant) | 1.2.3. EPC (Engineering, Procurement & Construction)
1.1.4.1. Powerhouse Crane | 1.2.3.1. Engineering Costs (Site Selection, Feasibility Studies and Designs)
1.1.4.2. Station Power System | 1.2.3.2. Procurement
1.1.4.3. Compressed Air System | 1.2.3.3. Construction Management and Quality Control
1.1.4.4. Water and Cooling System | 1.2.3.4. Commissioning
1.1.4.5. Lubrication System | 1.2.4. Auxiliary Equipment and Installation (for Balance of Plant)
1.1.4.6. Drainage & De-Watering System | 1.2.4.1. Powerhouse Crane
1.1.4.7. Fire Protection | 1.2.4.2. Station Power System
1.1.4.8. HVAC | 1.2.4.3. Compressed Air System
1.1.5. Supervisory Control (SCADA) and Communication Equipment | 1.2.4.4. Water and Cooling System
1.1.6. Switchyard and Installation | 1.2.4.5. Lubrication System
1.1.6.1. Switchyard Structures | 1.2.4.6. Drainage & De-Watering System
1.1.6.2. Switchyard Equipment and Devices | 1.2.4.7. Fire Protection
1.1.6.3. Bus and Insulators | 1.2.4.8. HVAC
1.1.7. Transmission Line | 1.2.5. Supervisory Control (SCADA) and Communication Equipment
1.1.8. Mitigation Construction and Equipment (not included in other cost categories) | 1.2.6. Switchyard and Installation
1.1.8.1. Fish Passage Facilities | 1.2.6.1. Switchyard Structures
1.1.8.2. Fish and Wildlife Mitigation | 1.2.6.2. Switchyard Equipment and Devices
1.1.8.3. Water Quality Monitoring and Mitigation | 1.2.6.3. Bus and Insulators
1.1.8.4. Recreational Facilities | 1.2.7. Transmission Line
1.1.8.5. Historical and Archeological Mitigation | 1.2.8. Mitigation Construction and Equipment (not included in other cost categories)
1.1.9. Construction Contingencies (if budget data used) | 1.2.8.1. Fish Passage Facilities
1.2. Indirect Cost | 1.2.8.2. Fish and Wildlife Mitigation
1.2.1. Licensing and Permitting | 1.2.8.3. Water Quality Monitoring and Mitigation
1.2.1.1. FERC License/Exemption (including NEPA requirements) | 1.2.8.4. Recreational Facilities
1.2.1.2. State-level Permits/Agreements | 1.2.8.5. Historical and Archeological Mitigation
1.2.1.3. Municipal Building Permit and Zoning Clearance | 1.2.9. Land, Water, and Power Privilege Rights
1.2.2. Electrical Interconnection Agreement | 1.2.9.1 Land Rights
1.2.3. EPC (Engineering, Procurement & Construction) | 1.2.9.2. Water Rights
1.2.3.1. Engineering Costs (Site Selection, Feasibility Studies and Designs) | 1.2.9.3. Power Privilege for Existing Facilities
1.2.3.2. Procurement | 1.2.10. Civil Works & Structures
1.2.3.3. Construction Management and Quality Control | 1.2.10.1 Site Access (Roads, Railways and Bridges)
1.2.3.4. Commissioning | 1.3. Soft Costs
1.2.4. Financing | 1.3.1. Financing
1.2.4.1. Interest during Construction | 1.3.2. Construction Contingencies (if budget data used)
1.2.4.2. Initial Financing and Transaction Costs | 1.3.2.1. Interest during Construction
1.2.4.3. Escalation Cost if earlier budgets used | 1.3.2.2. Initial Financing and Transaction Costs
1.3.2.3. Escalation Cost if earlier budgets used
2. Recurring Cost | 2. Annual Operating Expenditures
2.1. Operation and Maintenance (O&M) | 2.1. Operation and Maintenance (O&M)
2.1.1. Personnel and Labor | 2.1.1. Personnel and Labor
2.1.2. Supplies | 2.1.2. Supplies
2.1.3. Taxes and Duties | 2.1.3. Taxes and Duties
2.1.4. Insurance | 2.1.4. Insurance
2.1.5. Regulatory Compliance | 2.1.5. Regulatory Compliance
2.1.5.1. Environmental Compliance | 2.1.5.1. Environmental Compliance
2.1.5.2. Power System Compliance (including reliability compliance) | 2.1.5.2. Power System Compliance (including reliability compliance)
2.1.6. Land, Water, and Facility Privileges | 2.1.6. Land, Water, and Facility Privileges
2.2. Overhaul and Replacements | 2.2. Overhaul and Replacements
2.2.1. Parts and Materials | 2.2.1. Parts and Materials
2.2.2. Contractor Personnel and Labor | 2.2.2. Contractor Personnel and Labor
2.2.3. Periodic Replacements Reserve Fund | 2.2.3. Periodic Replacements Reserve Fund

## Compare.ALL
PROPOSED CONVENTIONAL HYDRO (by ORNL) | --> | MODIFIED CONVENTIONAL HYDRO (by NREL for BOS discussion) | DRAFT FOR OFFSHORE WIND [updated AUGUST 2013]
Table 1. Draft Standard Cost Taxonomy for the HCM
1. Capital Expenditures |  | 1. Capital Expenditures | 1 | Capital Expenditures (CapEx)
1.1. Hydropower Power Plant |  | 1.1. Hydropower Power Plant | 2 | Wind Turbine
1.1.1 Site Preparation |  | 1.1.1 Dams and Reservoirs | 3 | Rotor Module
1.1.1.2. Leveling and Excavation |  | 1.1.1.1. Dams/Weirs/Dikes and Dam Appurtenances | 4 | Blade
1.1.1.2. De-Watering |  | 1.1.1.2. Spillway Gates and Operating Equipment | 5 | Root Structure
1.1.1.3. Cofferdams |  | 1.1.1.3. Sluiceway Gates and Operating Equipment | 5 | Sandwich Core
1.1.2 Dams and Reservoirs |  | 1.1.1.4. Riverbank Enhancement for Water Diversion/Intake | 5 | Spar/ Spar Box
1.1.2.1. Dams/Weirs/Dikes and Dam Appurtenances |  | 1.1.2 Water Conveyances | 5 | Bond
1.1.2.2. Spillway Gates and Operating Equipment |  | 1.1.2.1. Intake Structures and Equipment | 5 | Fasteners
1.1.2.3. Sluiceway Gates and Operating Equipment |  | 1.1.2.2. Penstocks, Control Valve and other Appurtenances | 5 | Laminates
1.1.2.4. Riverbank Enhancement for Water Diversion/Intake |  | 1.1.2.3. Pipelines and Appurtenances | 5 | Paint and coatings
1.1.3 Water Conveyances |  | 1.1.2.4. Surge Tanks and Appurtenances | 5 | Lightening protection
1.1.3.1. Intake Structures and Equipment |  | 1.1.2.5. Tunnels, Shafts and Wells | 5 | De-icing system
1.1.3.2. Penstocks, Control Valve and other Appurtenances |  | 1.1.2.6. Open Channels and Flumes | 5 | Aerodynamic Accessories
1.1.3.3. Pipelines and Appurtenances |  | 1.1.2.7. Tailrace Improvements | 4 | Pitch System
1.1.3.4. Surge Tanks and Appurtenances |  | 1.1.3 Powerhouse Structures and Plant Foundations (including Transformer and Switchyard Foundations) | 5 | Pitch Drive
1.1.3.5. Tunnels, Shafts and Wells |  | 1.1.4 Navigation Locks | 5 | Pitch Cabinet
1.1.3.6. Open Channels and Flumes |  |  | 5 | Sensors
1.1.3.7. Tailrace Improvements |  |  | 5 | Miscellaneous
1.1.4 Powerhouse Structures and Plant Foundations (including Transformer and Switchyard Foundations) |  |  | 4 | Hub System
1.1.5 Navigation Locks |  |  | 5 | Hub
1.1.6 Power Train Equipment and Installation |  |  | 5 | Nose Cone
1.1.6.1. Turbines /Pump-Turbines |  |  | 5 | Exit Hatch
1.1.6.2. Governors /Hydraulic Power Units (HPU) |  |  | 3 | Nacelle Module
1.1.6.3. Generators /Motor-Generators |  |  | 4 | Nacelle Structure
1.1.6.4. Exciters |  |  | 5 | Enclosure
1.1.6.5. Speed Increasers |  |  | 5 | Drivetrain Support Structure
1.1.6.6. Generator Switchgear |  |  | 5 | Coatings
1.1.6.7. Main Transformers |  |  | 4 | Nacelle Auxiliaries
1.2. Licensing and Permitting |  |  | 5 | Nacelle Sensors
1.2.1. FERC License/Exemption (including NEPA requirements) |  |  | 5 | Internal Environment
1.2.2. State-level Permits/Agreements |  |  | 5 | External Lighting
1.2.3. Municipal Building Permit and Zoning Clearance |  |  | 5 | Walking/Climbing Infrastructure
1.3. Electrical Interconnection Agreement |  |  | 5 | Safety System
1.4. EPC (Engineering, Procurement & Construction) |  |  | 5 | Onboard Crane
1.4.1. Engineering Costs (Site Selection, Feasibility Studies and Designs) |  |  | 5 | Internal Maintenance Hoist
1.4.2. Procurement |  |  | 4 | Yaw System
1.4.3. Construction Management and Quality Control |  |  | 5 | Brake
1.4.4. Commissioning |  |  | 5 | Drives & Bearings
1.5. Auxiliary Equipment and Installation (for Balance of Plant) |  |  | 5 | Hydraulics
1.5.1. Powerhouse Crane |  |  | 5 | Yaw Sensors
1.5.2. Station Power System |  |  | 3 | Electrical Module
1.5.3. Compressed Air System |  |  | 4 | Frequency Converter
1.5.4. Water and Cooling System |  |  | 5 | Converter Auxiliaries
1.5.5. Lubrication System |  |  | 5 | Converter Power Bus
1.5.6. Drainage & De-Watering System |  |  | 5 | Power Conditioning
1.5.7. Fire Protection |  |  | 4 | Power Electrical System
1.5.8. HVAC |  |  | 5 | Power Circuit
1.6. Supervisory Control (SCADA) and Communication Equipment |  |  | 5 | Main Transformer
1.7. Switchyard and Installation |  |  | 5 | Measurements
1.7.1. Switchyard Structures |  |  | 4 | Control & Communication System
1.7.2. Switchyard Equipment and Devices |  |  | 5 | Wind Turbine Controller
1.7.3. Bus and Insulators |  |  | 5 | Communication System
1.8. Transmission Line |  |  | 5 | Condition Monitoring System
1.9. Mitigation Construction and Equipment (not included in other cost categories) |  |  | 5 | Ancillary Equipment
1.9.1. Fish Passage Facilities |  |  | 4 | Auxiliary Electrical System
1.9.2. Fish and Wildlife Mitigation |  |  | 5 | Drop Cable
1.9.3. Water Quality Monitoring and Mitigation |  |  | 5 | Electrical Services
1.9.4. Recreational Facilities |  |  | 5 | Lightning Protection System
1.9.5. Historical and Archeological Mitigation |  | 1.1.5 Power Train Equipment | 3 | Drivetrain Module
1.10. Land, Water, and Power Privilege Rights |  | 1.1.5.1. Turbines /Pump-Turbines | 4 | Gearbox
1.10.1 Land Rights |  | 1.1.5.2. Governors /Hydraulic Power Units (HPU) | 5 | Gears
1.10.2. Water Rights |  | 1.1.5.3. Generators /Motor-Generators | 5 | Bearings
1.10.3. Power Privilege for Existing Facilities |  | 1.1.5.4. Exciters | 5 | Housing
1.11. Civil Works & Structures |  | 1.1.5.5. Speed Increasers | 5 | Sensors
1.11.1 Site Access (Roads, Railways and Bridges) |  | 1.1.5.6. Generator Switchgear | 5 | Lube System
1.12. Soft Costs |  | 1.1.5.7. Main Transformers | 5 | Cooling System
1.13.1. Financing |  |  | 4 | Generator
1.13.2. Construction Contingencies (if budget data used) |  |  | 5 | Cooling System
1.13.2.1. Interest during Construction |  |  | 5 | Lubrication System
1.13.2.2. Initial Financing and Transaction Costs |  |  | 5 | Rotor
1.13.2.3. Escalation Cost if earlier budgets used |  |  | 5 | Sensors
|  |  | 5 | Stator
2. Annual Operating Expenditures |  |  | 5 | Structural & Mechanical
2.1. Operation and Maintenance (O&M) |  |  | 4 | Low Speed Shaft and Main Bearing System
2.1.1. Personnel and Labor |  |  | 5 | Low Speed Shaft
2.1.2. Supplies |  |  | 5 | Main Bearing
2.1.3. Taxes and Duties |  |  | 4 | Sensors
2.1.4. Insurance |  |  | 4 | High Speed Shaft and Braking System
2.1.5. Regulatory Compliance |  |  | 5 | High Speed Shaft
2.1.5.1. Environmental Compliance |  |  | 5 | Braking System
2.1.5.2. Power System Compliance (including reliability compliance) |  |  | 4 | Sensors
2.1.6. Land, Water, and Facility Privileges |  |  | 3 | Tower Module
2.2. Overhaul and Replacements |  |  | 4 | Tower System
2.2.1. Parts and Materials |  |  | 5 | Tower Structure
2.2.2. Contractor Personnel and Labor |  |  | 5 | Fasteners
2.2.3. Periodic Replacements Reserve Fund |  |  | 5 | Coating
|  |  | 4 | Ancillary Equipment
|  |  | 5 | Personnel Access and Survival Equipment
|  |  | 5 | Electrical System
|  |  | 5 | Tower Internal Lighting
|  |  | 5 | Equipment Support
|  |  | 5 | Aerodynamic Accessories
|  |  | 5 | Damping System
|  | 1.4.4. Commissioning | 3 | Turbine Commissioning
|  | Balance of Station (BOS) | 2 | Balance of Station (BOS)
|  | Development | 3 | Development
|  | 1.2. Licensing and Permitting | 4 | Permitting & Leasing
|  | 1.2.1. FERC License/Exemption (including NEPA requirements) | 5 | Siting & Scoping
|  | 1.2.2. State-level Permits/Agreements | 5 | Studies & Surveys
|  | 1.2.3. Municipal Building Permit and Zoning Clearance | 5 | Permit Acquisition Activities
|  | 1.9. Mitigation Construction and Equipment (not included in other cost categories) | 5 | Lease Acquisition Activities
|  | 1.9.1. Fish Passage Facilities | 5 | Public Outreach
1.9.2. Fish and Wildlife Mitigation
1.9.3. Water Quality Monitoring and Mitigation
1.9.4. Recreational Facilities
1.9.5. Historical and Archeological Mitigation
|  | 1.10. Land, Water, and Power Privilege Rights | 4 | Professional Advisory Services
1.10.1 Land Rights
1.10.2. Water Rights
1.10.3. Power Privilege for Existing Facilities
1.4. EPC (Engineering, Procurement & Construction) |  |  | 4 | Engineering
1.4.1. Engineering Costs (Site Selection, Feasibility Studies and Designs) |  |  | 5 | Pre-FEED
1.4.2. Procurement |  |  | 5 | FEED
1.3. Electrical Interconnection Agreement |  |  | 5 | Engineering Certification
|  |  | 4 | Site Characterization
|  |  | 5 | Met Station
|  |  | 5 | Met Station Installation
1.4.3. Construction Management and Quality Control |  |  | 5 | Wind Resource Analysis
|  |  | 5 | Ocean Monitoring
|  |  | 5 | Geotechnical & Geophysical Surveys
|  |  | 4 | Interconnection & Power Marketing
|  |  | 5 | Interconnection Studies & Fees
|  |  | 5 | Transmission rights of way
|  |  | 5 | Power Marketing
|  |  | 4 | Project Management during Development
|  |  | 5 | Procurement
|  | 1.1.1 Site Preparation | 5 | Salaries
|  | 1.1.1.2. Leveling and Excavation | 5 | Sales, General, & Administrative
|  | 1.1.1.2. De-Watering | 5 | Profit (if private developer)
|  | 1.1.1.3. Cofferdams | 4 | Financial Closing Costs
|  |  | 5 | Due Diligence
|  |  | 5 | Closing Costs
|  |  | 5 | Legal Support
|  |  | 3 | Construction Management
|  |  | 4 | Project Management during Construction
|  |  | 5 | Salaries
|  |  | 5 | Sales, General, & Administrative
|  | 1.5. Auxiliary Equipment and Installation (for Balance of Plant) | 5 | Profit
|  | 1.5.1. Powerhouse Crane | 4 | Project Certification
|  | 1.5.2. Station Power System | 4 | Health, Safety, & Environmental Monitoring
|  | 1.5.3. Compressed Air System | 5 | Health and Safety Monitoring
|  | 1.5.4. Water and Cooling System | 5 | Environmental Monitoring
|  | 1.5.5. Lubrication System | 3 | Port & Staging
|  | 1.5.6. Drainage & De-Watering System | 4 | Facilities
|  | 1.5.7. Fire Protection | 5 | Laydown Area
|  | 1.5.8. HVAC | 5 | Assembly Areas
|  | 1.6. Supervisory Control (SCADA) and Communication Equipment | 5 | Fabrication Facilities
|  | 1.7. Switchyard and Installation | 4 | Cranage
|  | 1.7.1. Switchyard Structures | 4 | Port Improvements
|  | 1.7.2. Switchyard Equipment and Devices | 4 | Port Fees
|  | 1.7.3. Bus and Insulators | 5 | Entrance/Exit Fees
|  |  | 5 | Quayside Docking Fees
|  |  | 5 | Wharfage Fees
|  |  | 3 | Substructure & Foundation
|  |  | 4 | Foundation
|  |  | 5 | Piles
|  |  | 5 | Anchors
|  |  | 5 | Mooring Lines
|  |  | 5 | Connecting Hardware
|  | 1.8. Transmission Line | 5 | Messenger lines & buoys
|  |  | 4 | Substructure
|  |  | 5 | Primary Structure
|  |  | 5 | Transition Piece
|  |  | 5 | Fasteners
|  |  | 5 | Grout, Grout Lines, & Seals
|  |  | 5 | Marine Coatings
|  |  | 4 | Outfitting Steel
|  |  | 5 | Vessel Landing
|  |  | 5 | Deck
|  |  | 5 | J-tube
|  |  | 5 | Ladders
|  |  | 5 | Railings
|  |  | 5 | Marine Coatings
|  |  | 4 | Marine Systems
|  |  | 5 | On-board Crane
|  |  | 5 | Personnel Access System
|  |  | 5 | Ballast System
|  |  | 5 | Condition Monitoring
|  |  | 4 | Scour protection
|  |  | 4 | Substructure & Foundation Commissioning
|  |  | 3 | Electrical Infrastructure
|  |  | 4 | Array Cable System
|  |  | 5 | Array Cables
|  |  | 5 | Protection
|  |  | 6 | Scour Protection
|  |  | 6 | Seabed Protection Mats
|  |  | 6 | Ducting System
|  |  | 6 | J-tube Seals
|  |  | 6 | Bend Restrictors
|  |  | 6 | Bend Stiffeners
|  |  | 5 | Ancillary Equipment
|  |  | 6 | Termination Kit
|  |  | 6 | Connectors
|  |  | 6 | Buoyancy Modules
|  |  | 6 | Anchorage
|  |  | 6 | Messenger Lines & Buoys
|  |  | 5 | Array Cable System Commissioning
|  |  | 4 | Export Cable System
|  |  | 5 | Export Cables
|  |  | 5 | Protection
|  |  | 6 | Scour Protection
|  |  | 6 | Seabed Protection Mats
|  |  | 6 | Ducting System
|  |  | 6 | J-tube Seals
|  |  | 6 | Bend Restrictors
|  |  | 6 | Bend Stiffeners
|  |  | 5 | Ancillary Equipment
|  |  | 6 | Termination Kit
|  |  | 6 | Connectors
|  |  | 6 | Buoyancy Modules
|  |  | 6 | Anchorage
|  |  | 6 | Messenger Lines & Buoys
|  |  | 5 | Export Cable System Commissioning
|  |  | 4 | Offshore Substation(s)
|  |  | 5 | Topside
|  |  | 6 | Structure
|  |  | 6 | Helicopter Deck
|  |  | 6 | Accommodations
|  |  | 6 | Outfitting Steel
|  |  | 6 | Topside Marine Systems
|  |  | 5 | Substructure & Foundation
|  |  | 6 | Foundation
|  |  | 6 | Substructure
|  |  | 6 | Substructure Marine Systems
|  |  | 6 | Scour Protection
|  |  | 5 | Electrical Conversion Equip.
|  |  | 6 | AC Transformers
|  |  | 6 | High Voltage Switchgear
|  |  | 6 | Medium Voltage Switchgear
|  |  | 6 | Shunt Reactors
|  |  | 6 | DC Convertor
|  |  | 6 | Filtering System
|  |  | 5 | Ancillary Systems
|  |  | 6 | Diesel Generator Back Up
|  |  | 6 | Fire Protection System
|  |  | 6 | Water Tanks
|  |  | 6 | Fuel Tanks
|  |  | 6 | Control & Communication System
|  |  | 6 | Safety and Security Systems
|  |  | 5 | Substation Commissioning
|  |  | 4 | Onshore Electric Infrastructure
|  |  | 5 | Underground Cable System
|  |  | 6 | Underground Cables
|  |  | 5 | Self-Supporting Towers with Insulators
|  |  | 6 | Foundations
|  |  | 6 | Transmission Towers
|  |  | 6 | Insulators
|  |  | 5 | Overhead Lines
|  |  | 6 | Conductors
|  |  | 6 | Communications
|  |  | 6 | Shield Wire
|  |  | 5 | Onshore Substations
|  |  | 6 | Buildings/Facilities
|  |  | 6 | Civil Infrastructure
|  |  | 6 | Electric Conversion Equipment
|  |  | 6 | Ancillary Systems
|  |  | 5 | Onshore Electric Infra. Commissioning
|  |  | 3 | Other Infrastructure
|  |  | 4 | Offshore Accommodations Platform(s)
|  |  | 4 | Dedicated O&M Vessel(s)
|  |  | 4 | Onshore O&M Facilities
|  |  | 4 | O&M Equipment Purchases
|  |  | 3 | Assembly & Installation
|  |  | 4 | Foundations & Substructures
|  |  | 5 | Foundation
|  |  | 5 | Substructure
|  |  | 5 | Scour protection
|  |  | 4 | Turbines
|  |  | 4 | Array Cables
|  |  | 5 | Laying/Trenching
|  |  | 5 | Protection
|  |  | 5 | Terminations
|  |  | 4 | Export Cables
|  |  | 5 | Laying/Trenching
|  |  | 5 | Protection
|  |  | 5 | Terminations
|  |  | 5 | Landfall Operations
|  |  | 4 | Offshore Substation(s)
|  |  | 5 | Substructure
|  |  | 5 | Topside
|  |  | 4 | Offshore Accommodations Platform(s)
|  |  | 5 | Substructure
|  |  | 5 | Topside
|  |  | 4 | Onshore Electric Infrastructure
|  |  | 5 | Underground Cable System
|  |  | 5 | Overhead Transmission Lines
|  |  | 5 | Onshore Substation
|  |  | 2 | Soft Costs
|  |  | 3 | Insurance During Construction (IDC)
|  |  | 3 | Surety Bond (Decommissioning)
|  |  | 3 | Reserve Accounts (MRA, DSRA)
|  |  | 3 | Project Contingency Budget
|  |  | 3 | Construction Financing Costs
|  |  | 1 | Operational Expenditures (OpEx)
|  |  | 2 | Maintenance
|  |  | 3 | Long Term Service Agreement
|  |  | 3 | Wind turbine scheduled maintenance
|  |  | 3 | Wind turbine unscheduled maintenance
|  |  | 4 | Drivetrain Module
|  |  | 4 | Electric Module
|  |  | 4 | Rotor Module
|  |  | 4 | Nacelle Module
|  |  | 4 | Tower Module
|  |  | 3 | BOS scheduled maintenance
|  |  | 3 | BOS unscheduled maintenance
|  |  | 4 | Substructure & Foundation
|  |  | 4 | Electrical Infrastructure
|  |  | 4 | Other Infrastructure
|  |  | 2 | Operations
|  |  | 3 | Annual Lease Payments
|  |  | 3 | Project Management during Operations
|  |  | 4 | Salaries
|  |  | 4 | Sales, General, & Administrative
|  |  | 4 | Profit (if private operator)
|  |  | 3 | Transmission Charges
|  |  | 3 | Operating Insurance
|  |  | 3 | Operating Equipment & Facilities Lease
|  |  | 3 | Professional Advisory Services
|  |  | 3 | Health, Safety and Environmental Monitoring
|  |  | 4 | Health, Safety Monitoring
|  |  | 4 | Environmental Monitoring

## Full.OW.w.Definitions
1 | Capital Expenditures (CapEx) | All installed costs incurred prior to commercial operations date (COD). CapEx components include turbine, BOS, and soft costs.
2 | Wind Turbine | Converts kinetic energy from wind into three phase AC electrical energy.
3 | Drivetrain Module | Main power conversion system in the wind turbine, where energy captured by the rotor is transferred to drive the generator via the main shaft system, with or without a gearbox
4 | Gearbox | Provides speed and torque conversion between the rotor and the generator. Only applicable for geared designs.
5 | Gears | Planet carrier, planet gear, ring gear, sun gear, spur gear, hollow shaft
5 | Bearings | Planet bearing, carrier bearing, shaft bearing
5 | Housing | Bushing, case, mounting, torque arm system
5 | Sensors | Debris sensors, oil level sensors, pressure 1 & pressure 2 sensors, and temperature sensor
5 | Lube System | Primary filter, secondary filter, primary motor, primary pump, hose/fitting, seal, and reservoir
5 | Cooling System | Pump, radiator, hoses
4 | Generator | Converts mechanical energy to electrical energy.
5 | Cooling System | Hoses, filter, cooling fan, motor, radiator
5 | Lubrication System | Pump, pump motor, reservoir
5 | Rotor | Commentator, exciter, resistance controller, rotor lamination, rotor winding, slip ring, rotor magnets, brush
5 | Sensors | Core temperature sensor, encoder, watt meter
5 | Stator | Stator magnets, stator lamination, stator windings
5 | Structural & Mechanical | Front bearing, rear bearing, silent block, housing, and shaft
4 | Low Speed Shaft and Main Bearing System | Transfers torque from the rotor to the gearbox (if applicable) or generator if dirrect drive
5 | Low Speed Shaft | Low speed shaft, compression coupling, rotor lock, connector plate, and slip ring assembly
5 | Main Bearing | Main bearing upwind, main bearing downwind, main bearing seals,
4 | Sensors | Main bearing temperature sensor, low speed shaft rpm, and position sensor
4 | High Speed Shaft and Braking System | High speed shaft, coupling, rotor lock, and transmission shaft
5 | High Speed Shaft | High speed shaft, coupling, rotor lock, and transmission shaft
5 | Braking System | Brake disc, brake calipers, brake pads, and transmission lock
4 | Sensors | High speed shaft rpm senson, position sensor
3 | Rotor Module | System to capture wind energy and transfer to the drive train (through the low speed shaft).
4 | Blade | Captures the kinetic energy in the wind and transfer torque and other unwanted loads to the drive train module and rest of the turbine.
5 | Root Structure | Interface between the main composite section of the blade and the blade bearing
5 | Sandwich Core | Low-density core material between laminates
5 | Spar/ Spar Box | Spar cap and spar web
5 | Bond | Bonds for leading edge and trailing edge
5 | Fasteners | T-bolt/Root Insert, others
5 | Laminates | Internal structural laminates and skin laminates
5 | Paint and coatings | Coatings to protect from erosion
5 | Lightening protection | Termination and down-conductor
5 | De-icing system | Sensors, heaters, wiring, thermal conductors
5 | Aerodynamic Accessories | Active and passive blade accessories: aileron, tip bakes, etc.
4 | Pitch System | Adjusts the pitch angle of the blades to control power output from the turbine, minimize loads, and start/stop turbine as needed. Blades are attached to the hub through the pitch systems
5 | Pitch Drive | Motor, motor cooling fan, pitch bearing, motor brake, pitch gear, gear reducer, pinion, power electronics/drive, cabling, contractor/circuit breaker fuse, encoder, power supply, heater, accumulator, pump
5 | Pitch Cabinet | Switchboard/limit switch, battery, battery charger, heater, position controller, load controller
5 | Sensors | Temperature sensor, voltmeter, position sensor
5 | Miscellaneous | Seals, auto lube system, pitch cylinder linkage, bushing, proportional valve, hose/fitting
4 | Hub System | The hub connects the blades and pitch system to the low speed shaft within the drivetrain module
5 | Hub | Connects the blades and pitch system to the low speed shaft within the drivetrain module
5 | Nose Cone | Protective cap fitted on the hub, largely aesthetic
5 | Exit Hatch | Provides access to and exit from the hub system
3 | Electrical Module | Power off-take system for the wind turbine, connects the drivetrain module to the array cable system through the main transformer in the tower
4 | Frequency Converter | Coverts variable frequency from asynchronous generator to grid-compliant power of the right ‘quality' and with a stable frequency of either 50 Hz or 60 Hz
5 | Converter Auxiliaries | Power supply, cabinet, heating system, cabinet sensor, communication & interface unit, control board, generator side fan, grid side fan, measurement unit, power supply, power supply 24 V, tachometer adapter, thermostat
5 | Converter Power Bus | Branching unit, capacitors, contactors, generator side converter, generator side power module, grid side converter, grid side power module, inductor, load switch, pre-charge unit
5 | Power Conditioning | Common mode filter, crowbar system, DC chopper, generator side filter, line filter assembly, voltage limit unit
4 | Power Electrical System | System to covert generator voltage to array cable system voltage for collection
5 | Power Circuit | IGBT module, rectifier bridge, crowbar system, driver/control board, cables, machine contractor, Mv Busbar/Isolator/Circuit Breaker, Mv Switchgear/Disconnect, motor contractor, soft starter, grounding system
5 | Main Transformer | Main transformer within tower, nacelle-mounted transformer
5 | Measurements | Equipment to measure the function of the power electric system
4 | Control & Communication System | Connects the wind turbines with an onshore operations center, provides wind project operator with information about the status of wind turbine systems and allows remote control of some functions
5 | Wind Turbine Controller | Rotor controller, nacelle controller, tower controller (all comprised of numerous level 6 components)
5 | Communication System | Analog I/O unit, digital I/O unit, Ethernet module, field bus master, field bus slave, frequency unit, controller internal communication system
5 | Condition Monitoring System | Sensors, cables, data logger, protocol adapter card for data logger
5 | Ancillary Equipment | Cables, connectors, contactor/circuit breaker fuse
4 | Auxiliary Electrical System | Other equipment necessary for the function of the electrical system
5 | Drop Cable | Cables to off-take power from drivetrain and transport to main transformer (in tower base)
5 | Electrical Services | 24 DC feeder, auxiliary transformer, breaker, cabinet, fan, fuse, grid protection relay, light, mechanical switch, power point/supply, protection cabinet, push button, relay, space heater, surge arrester, thermal protection, UPS
5 | Lightning Protection System | Air termination, bonding element, earth connector & termination, sliding contact, spark gap system, surge arrester
4 | Electrical Module IATC | Activities performed by manufacturer to integrate, assemble, test, and verify the electrical module before delivery to customer (does not include commissioning activities)
3 | Nacelle Module | Nacelle module provides structural interface between tower module, drivetrain module, and rotor module. Provides shelter to sensitive electrical and mechanical components and equipment for access by maintenance personnel.
4 | Nacelle Structure | Nacelle structure provides the structure interface between the tower, drivetrain, and rotor and shelters sensitive equipment
5 | Enclosure | Structure, Exit hatch, hatch, latches, and helicopter landing pad.
5 | Drivetrain Support Structure | Bedplate generator frame (can be a single unit), including welded steel and fasteners
5 | Coatings | Coatings to protect from corrosion in marine environment
4 | Nacelle Auxiliaries | Other equipment within the nacelle necessary for the necessary for the function of the wind turbine
5 | Nacelle Sensors | Anemometer, wind vane, temperature sensor
5 | Internal Environment | Nacelle heater, nacelle vent, nacelle lighting
5 | External Lighting | Navigational lighting lights (requirements set by FAA in United States)
5 | Walking/Climbing Infrastructure | Cat walks, cables, ladders, landing, people hatch, crane hatch,
5 | Safety System | Tie-off system, firefighting system, fall arrester, down conductor, service crate, beacon, nacelle cover metallic mesh, lighting protection
5 | Onboard Crane | Davit crane to lift small components (<2 mt) from support structure or maintenance vessel into nacelle
5 | Internal Maintenance Hoist | Hoist within the tower used to hoist tools and supplies during maintenance activities
4 | Yaw System | Yaw system orients the nacelle to the wind direction during operation.
5 | Brake | Yaw brake calipers, disc, path, hoses
5 | Drives & Bearings | Motor, gear, pinion, bearing, damper
5 | Hydraulics | Accumulator, pump, hoses and valves, motor
5 | Yaw Sensors | Wind-up counter, yaw encoder, position sensor
4 | Nacelle Module IATC | Activities performed by manufacturer to integrate, assemble, test, and verify the Nacelle module before delivery to customer (does not include commissioning activities)
3 | Tower Module | Support structure element that connects the nacelle, drive train and rotor modules with the substructure & foundation, can house electrical conversion equipment and provide emergency shelter
4 | Tower System | Tower system is the primary structural component
5 | Tower Structure | Tower sections, generally consists of rolled steel sections though other options are being considered
5 | Fasteners
5 | Coating | Coatings to protect from corrosion in marine environment
4 | Ancillary Equipment | Other equipment within the tower necessary for the necessary for the function of the wind turbine
5 | Personnel Access and Survival Equipment | Climb assist, hatches, ladders, landings, lighting, doors, food and fresh water storage,
5 | Electrical System | Wiring to support tower auxiliaries
5 | Tower Internal Lighting | Lighting within the tower to provide a safe working environment
5 | Equipment Support
5 | Aerodynamic Accessories | Passive accessories on tower to improve energy capture (likely applicable only for downwind deigns)
5 | Damping System | Tower mounted damping system to reduce transfer of unwanted torque from nacelle through tower
4 | Integration, Assembly, Test, and Checkout | Activities performed by manufacturer to integrate, assemble, test, and verify the Tower Module before delivery to customer (does not include commissioning activities)
3 | Pricing Effects | Financial costs for wind turbine supply contract, including warranty cost, G&A expenses, and profit margin
4 | Warranty | Expected costs of providing guarantee that turbine will operate above a set availability and that power production matches or exceeds advertised power curve for a fixed period
4 | Profit Margin | Profit margin on sale of wind turbine equipment and warranty
4 | General and Administrative | Overhead for supplying turbine including administrative salaries and benefits, rent, utilities, depreciation, insurance, etc.
3 | Transportation | Transportation of all turbine modules to the staging port.
4 | Drivetrain & Nacelle | Transportation of drivetrain and nacelle from the manufacturing facility to the staging site.
4 | Rotor Module | Transportation of the rotor module from the manufacturing facility to the staging site.
4 | Tower Module | Transportation of the tower module from the manufacturing facility to the staging site.
3 | Turbine Commissioning | Process of assuring that all wind turbine systems and components are operational through predefined series of tests and checks.
2 | Balance of Station (BOS) | Balance of equipment, labor, and material costs (other than wind turbine) incurred prior to COD
3 | Development | All activities from project inception to financial close (where financial close is the date where project and financing agreements have been signed and all the required conditions have been met)
4 | Permitting & Leasing | Acquisition of permits and leases required for site assessment, construction, and operation at the project site
5 | Siting & Scoping | Initial desktop-level studies to select project location, develop a conceptual design, identify regulatory requirements, and create preliminary business case
5 | Studies & Surveys | Environmental and social surveys/studies required by regulators or otherwise necessary for the project.
5 | Permit Acquisition Activities | Activities necessary to obtain permits from relevant authorities
5 | Lease Acquisition Activities | Activities necessary to obtain commercial or research lease to operate the project from relevant authorities
5 | Public Outreach | Stakeholder education, marketing, and other efforts to facilitate public acceptance of a project
4 | Professional Advisory Services | Legal support, external consulants, accounting, etc, during development
4 | Engineering | Engineering studies to specify the design of the project (e.g., technology, layout) and understand economics and risks associated with the design
5 | Pre-FEED | Preliminary engineering design studies to develop general design of project, identify a short list of technologies for further evaluation, and identify fatal flaws
5 | FEED | Engineering activities to develop final design specification, address areas of risk/uncertainty, determine technical & economic feasibility, and develop necessary specifications to begin procurement process
5 | Engineering Certification | Review by 3rd party, ind. verification agent to assess feasibility of design basis, resulting in Certification Report
4 | Site Characterization | Equipment, material and labor costs required for collecting/analysis of wind resource, ocean conditions, and geological data at project site. Defines parameters for engineering assessments as data becomes available
5 | Met Station | meteorological tower including substructure (fixed or floating), instrumentation (meteorological and oceanographic), and data acquisition system
5 | Met Station Installation | Vessels, labor, and equipment required to install met station, instrumentation and data acquisition system
5 | Wind Resource Analysis | Collection, cleaning, analysis of data to develop wind resource profile and power production estimates for a selection of turbine types at project site. Might include array layout optimization surveys
5 | Ocean Monitoring | Equipment (benthic node, buoys) and installation costs for characterization of ocean conditions (e.g., currents)
5 | Geotechnical & Geophysical Surveys | Vessels, labor, and equipment required to establish bathymetry, sea bed features, water depth, stratigraphy, and identify hazards on seafloor. Performed for project site and potential cable routes to interconnection
4 | Interconnection & Power Marketing | Activities to gain access to the transmission grid and negotiate contracts to sell or otherwise market power
5 | Interconnection Studies & Fees | Activities required to obtain a Large Generator Interconnection Agreement from FERC, prepared in coordination with transmission system operator. Studies cover technical considerations of interconnecting project with grid, while maintaining system balance and within grid operating limits
5 | Transmission rights of way | Costs of obtaining or expanding transmission rights of way for any onshore electric infrastructure (e.g., overhead transmission lines), includes any costs to permit onshore transmission
5 | Power Marketing | Efforts to develop power marketing strategy, forecast pricing, and negotiate Power Purchase Agreements
4 | Project Management during Development | Project Management from the start of the Development Phase through Financial Close
5 | Procurement | Preparation of tenders for each work package, evaluation of bids, negotiations with suppliers
5 | Salaries | Salaries for management and support staff on payroll of developer, some overlap with categories above is expected, depending on amount of work that is completed internally vs. contracted
5 | Sales, General, & Administrative | Overhead for the project company including administrative salaries and benefits, rent, utilities, depreciation, insurance, etc.
5 | Profit (if private developer) | Any margin earned by the developer upon sale of the project at financial close, does not include the cost to a new owner of any stake that a developer might retain in the project
4 | Financial Closing Costs | Efforts to arrange and secure equity and/or non-recourse debt facilities at the project level
5 | Due Diligence | Activities performed by potential investors to investigate technical and economic aspects of the project and estimate value prior to executing a financial commitment. Typically conducted by 3rd party technical consultant(s) hired by investor(s)
5 | Closing Costs | Administrative costs incurred by investors (debt and equity) during the evaluation of the investment
5 | Legal Support | Developer's legal support to during negotiations to arrange financing
3 | Construction Management | Construction Management refers to management activities from Financial Close through COD
4 | Project Management during Construction | Project Management from Financial Close through COD
5 | Salaries | Salaries for management and support staff on payroll of project owner and/or construction manager
5 | Sales, General, & Administrative | Overhead for the project company and/or construction manager including administrative salaries and benefits, rent, utilities, depreciation, insurance, etc
5 | Profit | Any margin earned by an independent construction management firm
4 | Project Certification | Review by a 3rd party, independent verification agent to assure that project is in compliance with design basis as well as technical standards and regulatory requirements, results in Project Certificate
4 | Health, Safety, & Environmental Monitoring | Coordination and monitoring to ensure compliance with HSE requirements during construction
5 | Health and Safety Monitoring | Coordination and monitoring to ensure compliance with health and safety requirements during construction
5 | Environmental Monitoring | Coordination and monitoring to ensure compliance with environmental requirement during construction
3 | Port & Staging | Activities and physical aspects of a staging port; elements needed to support the delivery, storage, handling, and deployment of offshore wind farm components
4 | Facilities | Port facilities or space leased to support the installation of the project
5 | Laydown Area | Leased space at staging port to store turbine components and foundations
5 | Assembly Areas | Leased space at staging port with high load bearing capacity to perform onshore assembly activities
5 | Fabrication Facilities | Workshops to support fabrication, construction or assembly of components
4 | Cranage | Cranage fees to use and operate crawler cranes, tower cranes, self-propelled modular transporters (SMPTs) used for land-based assembly of components and load out onto installation vessels
4 | Port Improvements | Any improvement to existing port infrastructure paid for by project owner (e.g., quayside reinforcement)
4 | Port Fees | Fees for vessel access, docking and loading/unloading
5 | Entrance/Exit Fees | Charges levied upon entry of vessels into the port, generally calculated on standard formula basis upon Gross Registered Ton (GRT)
5 | Quayside Docking Fees | Charges levied for the use of a berth either occupied by a vessel or by pre-assembly activities
5 | Wharfage Fees | Charges for loading or unloading cargo from vessels, generally calculated by tonnage and equipment requirements for loading/unloading the cargo
3 | Substructure & Foundation | All elements of offshore wind turbine support structure below point of connection with tower
4 | Foundation | Main structural interface that transfers loads into seabed
5 | Piles | Steel pipes driven into seabed to provide support and transfer loads acting on structure into seabed
5 | Anchors | Anchors are installed below mudline and transfer loads from floating platforms into the seabed
5 | Mooring Lines | Chain, wire, or synthetic fiber ropes to connect floating platforms with anchors on the seabed
5 | Connecting Hardware | Connectors required to attach the mooring lines/tendons to anchors and to the platform
5 | Messenger lines & buoys | Ancillary equipment used during the installation of the mooring system
4 | Substructure | Main structure that connects the foundation to the tower
5 | Primary Structure | Structural steel or concrete (e.g., jacket, tripod, floating platform, gravity base)
5 | Transition Piece | Main structural interface between the primary structure and point of connection with the tower
5 | Fasteners | Hardware to secure connections between substructure & foundation elements
5 | Grout, Grout Lines, & Seals | Grout and ancillary equipment to secure connections between substructure & foundation elements
5 | Marine Coatings | Anti-corrosion marine coatings applied to substructure elements
4 | Outfitting Steel | Additional non-structural elements attached to substructure elements
5 | Vessel Landing | Provides interface between maintenance vessels and substructure to enable safe personnel access
5 | Deck | Provides access to the inside of the turbine and a work platform for maintenance
5 | J-tube | Routes array cable from trench to point of connection with turbine, protects cable from dynamic loads
5 | Ladders | Provides access from the vessel landing to the deck
5 | Railings | Encloses the deck to provide a safe working environment for personnel
5 | Marine Coatings | Anti-corrosion marine coatings applied to any outfitting steel elements
4 | Marine Systems | Ancillary systems for marine operations
5 | On-board Crane | Davit crane installed on deck to lift small components, used for maintenance
5 | Personnel Access System | Equipment installed on vessel landing, ladders, and deck to facilitate safe access to turbine
5 | Ballast System | Ballast to control draft/stability of floating systems, ballast can be fixed or variable (active or passive)
5 | Condition Monitoring | Systems to monitor and control substructure systems (e.g., variable ballast)
4 | Scour protection | Rock fill or concrete mattresses to protect substructures from scouring (caused by currents)
4 | Substructure & Foundation IATC | Activities performed by manufacturer to integrate, assemble, test, and verify the Substructure & Foundation before delivery to customer (does not include commissioning activities)
4 | Pricing Effects | Financial costs for substructure supply contract, including warranty cost, SG&A expenses, and profit margin
4 | Transportation | Cost to transport substructure and foundation elements from manufacturer to staging port
4 | Substructure & Foundation Commissioning | Process of assuring that all substructure & foundation systems and components are operational through a predefined series of tests and checks.
3 | Array Cable System | Collects power generated by the turbines and transports to the offshore substation
4 | Array Cables | Cable to connect turbines with offshore substation, includes IATC
4 | Protection | Equipment and materials used to protect cable from damage (strikes, overbending, etc.)
5 | Scour Protection | Rock fill, sand bags, or concrete mattresses to protect from scouring, used where burial is not possible
5 | Seabed Protection Mats | Concrete, sand bags, polyurethane mats to route cables over existing electric/telecommunications cables
5 | Ducting System | Protective sheath that can be fitted around cables where burial is not an option
5 | J-tube Seals | Used to seal the ends of the J-Tube and keep sea water out, can be active or passive
5 | Bend Restrictors | Prevents the overbending of static cables during installation and operations
5 | Bend Stiffeners | Limit bending stresses and maintain acceptable curvature for dynamic cables at hang off point and touch down
4 | Ancillary Equipment | Other elements providing necessary functions to the array cable system
5 | Termination Kit | Necessary components to for connection of array cable to each turbine transformer
5 | Connectors | Equipment to connect individual sections of cable together, in the event of long cable runs or damage
5 | Buoyancy Modules | Used to manage buoyancy in some dynamic cable configurations and control load transfer
5 | Anchorage | Used to maintain the station of dynamic cable at touchdown point
5 | Messenger Lines & Buoys | Ancillary equipment used during the installation of static and dynamic cable systems
4 | Pricing Effects | Financial costs for array cable supply contract, including warranty cost, SG&A expenses, and profit margin
4 | Transportation | Costs to transport array cable elements from manufacturer to staging port
4 | Array Cable System Commissioning | Process of assuring that all array cable systems and components are operational through a predefined series of tests and checks.
3 | Export Cable System | Transports power from offshore substation to point of connection with onshore electric infrastructure (landfall point)
4 | Export Cables | Cable to connect offshore substation with onshore electric infrastructure, includes IATC
4 | Protection | Equipment and materials used to protect cable from damage (strikes, overbending, etc.)
5 | Scour Protection | Rock fill, sand bags, or concrete mattresses to protect from scouring, used where burial is not possible
5 | Seabed Protection Mats | Concrete, sand bags, polyurethane mats to route cables over existing electric/telecommunications cables
5 | Ducting System | Protective sheath that can be fitted around cables where burial is not an option
5 | J-tube Seals | Used to seal the ends of the J-Tube and keep sea water out, can be active or passive
5 | Bend Restrictors | Prevents the overbending of static cables during installation and operations
5 | Bend Stiffeners | Limit bending stresses and maintain acceptable curvature for dynamic cables at hang off point and touch down
4 | Ancillary Equipment | Other elements providing necessary functions to the export cable system
5 | Termination Kit | Necessary components for connection of cable to substation and to onshore electric infrastructure
5 | Connectors | Equipment to connect individual sections of cable together, in the event of long cable runs or damage
5 | Buoyancy Modules | Used to manage buoyancy in some dynamic cable configurations and control load transfer
5 | Anchorage | Used to maintain the station of dynamic cable at touchdown point
5 | Messenger Lines & Buoys | Ancillary equipment used during the installation of static and dynamic cable systems
4 | Pricing Effects | Financial costs for export cable supply contract, including warranty cost, G&A expenses, and profit margin
4 | Transportation | Costs to transport export cable elements from manufacturer to staging port
4 | Export Cable System Commissioning | Process of assuring that all export cable systems and components are operational through a predefined series of tests and checks.
3 | Offshore Substation(s) | Electric conversion equipment required to step-up or convert power for export to the onshore grid and support structure, also onboard work platforms, accommodation, equipment storage, helicopter access, etc.
4 | Topside | Structure that provides support and climate controlled housing for electrical conversion equipment, also can provide work platforms, accommodation, equipment storage, helicopter access, etc.
5 | Structure | Material, equipment, and labor costs of fabricating structural steel or concrete structure
5 | Helicopter Deck | Onboard helicopter landing platform
5 | Accommodations | Refuge, temporary, or permanent accommodations for project personnel
5 | Outfitting Steel | Additional non-structural elements attached to the primary structure
5 | Topside Marine Systems | Ancillary systems required for marine operations
5 | Substation Topside & Foundation IATC | Activities performed by manufacturer to integrate, assemble, test, and verify the Substation Topside before delivery to customer (does not include commissioning activities)
5 | Transportation | Costs to transport substation topside from manufacturer to staging port
4 | Substructure & Foundation | All elements of the offshore substation below the point of connection with the topside
5 | Foundation | Main structural interface that transfers the loads into the seabed
5 | Substructure | Main structure that connects the foundation to the substation topside
5 | Substructure Marine Systems | Ancillary systems for marine operations, major element is the ballast system for floating offshore substations
5 | Scour Protection | Rock fill or concrete mattresses to protect substructures from scouring at point of connection to seafloor
5 | Substation Substructure & Foundation IATC | Activities performed by manufacturer to integrate, assemble, test, and verify the Substation Substructure & Foundation before delivery to customer (does not include commissioning activities)
4 | Electrical Conversion Equip. | Equipment to step up power from array cable voltage to the export voltage and/or to convert power to DC
5 | AC Transformers | Power convertors that step up generated power from array cable voltage to export voltage
5 | High Voltage Switchgear | Equipment used to control, protect and disconnect the high voltage connection,
5 | Medium Voltage Switchgear | Equipment used to control, protect and disconnect the medium voltage connection
5 | Shunt Reactors | Onboard reactive compensation equipment
5 | DC Convertor | Equipment to convert power from HVAC to HVDC for export to shore
5 | Filtering System | Filters to address harmonics generated by HVDC convertors
5 | Substation Electrical Conversion Equip IATC | Activities performed by manufacturer to integrate, assemble, test, and verify the Substation Topside before delivery to customer (does not include commissioning activities)
4 | Ancillary Systems | Other elements providing necessary functions to offshore substation during operations
5 | Diesel Generator Back Up | Generators to provide power to substation if grid connection is lost
5 | Fire Protection System | Fire alarms and fire response equipment
5 | Water Tanks | Fresh water tanks and pumping equip.
5 | Fuel Tanks | Fuel tanks and pumping equip. for generator and possibly emergency fueling of service/crew transfer vessels
5 | Control & Communication System | Connects the substation with an onshore operations center, provides project operator with information about the status of substation systems and allows remote control of some functions
5 | Safety and Security Systems | Systems including access control, to safeguard personnel from hazards arising from the installation, maintenance, or operation of substation equipment
4 | Pricing Effects | Financial costs for substation supply contract, including warranty cost, SG&A expenses, and profit margin
4 | Substation Commissioning | Process of assuring that all offshore substation systems and components are operational through a predefined series of tests and checks.
3 | Onshore Electric Infrastructure | Any onshore transmission or conversion equipment required to connect project to onshore grid
4 | Underground Cable System | Any underground cables required for the connection of export cables to the onshore substation
5 | Underground Cables | Connect export cables to the onshore substation directly or via overhead lines
4 | Self-Supporting Towers with Insulators | Structures to support any overhead lines required for the connection of export cables to the onshore substation
5 | Foundations | Support tower structures, typically reinforced concrete
5 | Transmission Towers | Structures to support overhead transmission lines
5 | Insulators | insulating supports used to attach overhead transmission lines to the towers
4 | Overhead Lines | Lines that transmit power and enable communications with the offshore wind project
5 | Conductors | Conductors that transmit power between export cable and onshore substation (three phase system)
5 | Communications | Fiber optic wire routed to the control center, transmits information from DAS, CMS, and allows land-based control of project systems
5 | Shield Wire | Grounded conductor to protect phase conductors from surges (lightning)
4 | Onshore Substations | Facility to house electric conversion equipment to transform or convert power from the export voltage to the onshore grid voltage
5 | Buildings/Facilities | Structures to house electric conversion equipment, climate controlled
5 | Civil Infrastructure | Improvements to construction site (e.g., roads) necessary for substation construction and operation
5 | Electric Conversion Equipment | Equipment to transform generated power from export cable voltage to interconnection voltage and/or convert from DC to AC (e.g., AC transformers, switchgears, shunt reactors, DC convertors)
5 | Ancillary Systems | Other elements providing necessary functions to substation during operations (e.g., metering equipment, Safety and Security Systems, fire protection, gas detection )
5 | Onshore Substation IATC | Activities performed by manufacturer to integrate, assemble, test, and verify the Substation Substructure & Foundation before delivery to customer (does not include commissioning activities)
5 | Transportation | Costs to transport onshore substation components from manufacturing facilities to construction site
4 | Pricing Effects | Financial costs for onshore electric supply contract, including warranty cost, SG&A expenses, and profit margin
4 | Onshore Electric Infra. Commissioning | Process of assuring that all onshore substation systems and components are operational through a predefined series of tests and checks.
3 | Other Infrastructure | Other capital investments made by the project company prior to COD
4 | Offshore Accommodations Platform(s) | Permanent platform(s) at the project site to house project personnel during operations
4 | Dedicated O&M Vessel(s) | New build vessels owned by the project company that will be used exclusively to support operations at project
4 | Onshore O&M Facilities | Facilities on land, owned by the project company, to support the operation of the project
4 | O&M Equipment Purchases | Other purchases necessary for the operation of the wind project after COD. Examples include: safety equipment (e.g., harnesses, floatation devices), equipment to store replacement parts (e.g., climate control for spare electric cables), vehicles to support operations (e.g., fork trucks)
3 | Assembly & Installation | Assembly and installation activities conducted at the staging port and at the project site. Assume that financial costs related to warranties, contractor insurance, SG&A, profit margin, etc, are loaded in day rates for vessels, labor, and equipment
4 | Foundations & Substructures | Costs to complete installation of foundations and substructures
5 | Foundation | Vessel, labor and equipment costs to complete foundation installation procedures
5 | Substructure | Vessel, labor and equipment costs to complete substructure installation procedures
5 | Scour protection | Vessel, labor and equipment costs to complete scour protection installation procedures
4 | Turbines | Vessel, labor and equipment costs to complete turbine installation procedures for the entire project
4 | Array Cables | Installation of subsea array cable system
5 | Laying/Trenching | Vessel, labor and equipment costs to lay and bury array cables
5 | Protection | Vessel, labor and equipment costs to protect array cables
5 | Terminations | Vessel, labor and equipment costs to pull array cables through J-Tubes and connect to transformers
4 | Export Cables | installation of subsea export cable system
5 | Laying/Trenching | Vessel, labor and equipment costs to lay and bury export cables
5 | Protection | Vessel, labor and equipment costs to protect export cables
5 | Terminations | Vessel, labor and equipment costs to pull export cables through J-Tubes and connect to transformers
5 | Landfall Operations | Vessel, labor and equipment costs to transition export cable from subsea trench to onshore jointing pit
4 | Offshore Substation(s) | Costs of installing offshore substations at the project site
5 | Substructure | Vessel, labor and equipment costs to install substation substructure(s)
5 | Topside | Vessel, labor and equipment costs to install substation topside(s)
4 | Offshore Accommodations Platform(s) | Costs of installing offshore accommodations platforms at the project site
5 | Substructure | Vessel, labor and equipment costs to install offshore accommodations platform substructure(s)
5 | Topside | Vessel, labor and equipment costs to install offshore accommodations platform topside(s)
4 | Onshore Electric Infrastructure | Onshore Electric Infrastructure: costs of installing onshore electric infrastructure
5 | Underground Cable System | Labor and equipment costs to install underground cables onshore
5 | Overhead Transmission Lines | Labor equipment costs to install overhead transmission lines
5 | Onshore Substation | labor and equipment costs to install onshore substation
2 | Soft Costs | Financial expenditures for which the project owner is responsible prior to COD, related to either payments for financial products, carrying charges on loans, or setting up financial instruments
3 | Insurance During Construction (IDC) | Insurance policies held by owner during construction period, can include construction all risk, marine cargo, commercial general liability, workers compensation, environmental site liability, pollution liability, etc. Does not include insurance held by contractors
3 | Surety Bond (Decommissioning) | Financial vehicle to cover the anticipated costs of decommissioning the project at end of operational life
3 | Reserve Accounts (MRA, DSRA) | Payments into reserve accounts set up to cover major maintenance expenditures (MRA) and debt service (DSRA), often required by debt finance providers
3 | Project Contingency Budget | Liquid financial instrument set up to respond to "known unknown" costs that arise during construction, does not include contingences set by manufactures and contractors as part of supply contract pricing
3 | Construction Financing Costs | Carrying charges of expenditures on equipment and services incurred before COD
1 | Operational Expenditures (OpEx) | Expenditures required to operate the project and maintain availability, generally annualized
2 | Maintenance | Vessel, labor, and equipment costs of operations for the project
3 | Long Term Service Agreement | Annualized cost of a contract, generally between the owner and turbine OEM or Third Party, to maintain the offshore wind project at a guaranteed level of availability for a defined period, will likely replace scheduled and unscheduled maintenance categories below for duration of contract
3 | Wind turbine scheduled maintenance | Activities to ensure that Turbine systems are operating correctly and to minimize unscheduled breakdowns/ downtime, includes cost of vessels, labor, equipment, spare parts and consumables. Also known as preventative maintenance
3 | Wind turbine unscheduled maintenance | Activities to respond to random failures of turbine equipment including costs of vessels, labor, equipment, replacement parts, and consumables
4 | Drivetrain Module | Unscheduled maintenance related to Drivetrain Modules
4 | Electric Module | Unscheduled maintenance related to Electric Modules
4 | Rotor Module | Unscheduled maintenance related to Rotor Modules
4 | Nacelle Module | Unscheduled maintenance related to Nacelle Modules
4 | Tower Module | Unscheduled maintenance related to Tower Modules
3 | BOS scheduled maintenance | Activities to ensure that BOS systems are operating correctly and to minimize unscheduled breakdowns/ downtime, includes cost of vessels, labor, equipment, spare parts and consumables. Also known as preventative maintenance
3 | BOS unscheduled maintenance | Activities to respond to random failures of BOS equipment including costs of vessels, labor, equipment, replacement parts, and consumables
4 | Substructure & Foundation | Unscheduled maintenance related to Substructure & Foundations
4 | Array Cable System | Unscheduled maintenance related to Array Cable System
4 | Export Cable System | Unscheduled maintenance related to Export Cable System
4 | Offshore Substation | Unscheduled maintenance related to Offshore Substation(s)
4 | Onshore Electric Infra. | Unscheduled maintenance related to Onshore Electric Infrastructure
4 | Other Infrastructure | Unscheduled maintenance related to Other Infrastructure
2 | Operations | Operations: non-equipment costs of operations for the project
3 | Annual Lease Payments | Payments to regulatory body for permission to operate at project site, terms defined within lease
3 | Project Management during Operations | Project Management from COD to up until decommissioning
4 | Salaries | Salaries for management and support staff on payroll of project owner and/or operations manager
4 | Sales, General, & Administrative | Overhead for the project company and/or operations manager including administrative salaries and benefits, rent, utilities, depreciation, insurance, etc.
4 | Profit (if private operator) | Any margin earned by an independent operations management company
3 | Transmission Charges | Any payments to Transmissions Systems Operators or Transmission Asset Owners for rights to transport generated power.
3 | Operating Insurance | Insurance policies held by project company or operations manager during operational period
3 | Operating Equipment & Facilities Lease | Costs of leasing equipment and facilities to support operations. Could include expenditures for warehouse, fork trucks, etc after COD.
3 | Professional Advisory Services | Legal support, external consulants, accounting, etc, during construction
3 | Health, Safety and Environmental Monitoring | Coordination and monitoring to ensure compliance with HSE requirements during construction
4 | Health, Safety Monitoring | Coordination and monitoring to ensure compliance with health and safety requirements during operations
4 | Environmental Monitoring | Coordination and monitoring to ensure compliance with environmental requirement during operations